## Panel Identification
Panel Identification:
Panel Name
| Meter ID |  | Power meter's Meter ID rotary switch setting. (Choices: 1...8)
| Panel Type | 3-phase | Click arrow, select from list. (Choices: single-phase, split-phase, 3-phase)
| Nominal Voltage |  | Nominal panel line-line voltage. (Establishes alarm thresholds) Example: nominal voltage (400V), threshold (90%): alarm occurs at 360V
| Rated Amps |  | Panel mains breaker rated amps. (Establishes alarm thresholds.) Example: rated amps (400A), threshold (80%): alarm occurs at 320A
| Circuit Positions | 42 | Branch circuit breaker positions. (1-96)
| Circuit Layout | 2 | Click arrow, select from list. (Circuit breaker columns. Choices: 1 or 2)
| Circuit Numbers | Odd/Even | Click arrow, select from list. (Choices: odd/even or sequential) odd/even: left column 1,3,5… right column 2,4,6.... sequential: left column 1,2,3..., right column 49,50,51...
| Phase CT Amps |  | Amp rating of CTs measuring panel mains breaker.
| Neutral CT Amps |  | Amp rating of CT meausring neutral current ( Enter 0 if no neutral CT)
| Earth CT Amps |  | Amp rating of CT measuring ground current ( Enter 0 if no earth CT)
| MODBUS Address |  | Power meter's MODBUS address. (Enter 0 if MODBUS not used)
INSTRUCTIONS
1. Complete Panel Identification below.
2. Click Branch Circuits tab. Define panel branch circuits.
3. Click Alarms tab. Define voltage/current alarm settings.
4. Click Configure Meter tab. Load spreadsheet into Power Meter. Controller.

## Branch Circuits
Branch Circuits:
| Circuit |  |  | Circuit Breaker |  | CT |  | Circuit |  |  | Circuit Breaker |  | CT
| Position | Phase | Name | Poles | Amps | Number | Amps | Position | Phase | Name | Poles | Amps | Number | Amps
| 1 | A | [5 empty] | 2 | A
| 3 | B | [5 empty] | 4 | B
| 5 | C | [5 empty] | 6 | C
| 7 | A | [5 empty] | 8 | A
| 9 | B | [5 empty] | 10 | B
| 11 | C | [5 empty] | 12 | C
| 13 | A | [5 empty] | 14 | A
| 15 | B | [5 empty] | 16 | B
| 17 | C | [5 empty] | 18 | C
| 19 | A | [5 empty] | 20 | A
| 21 | B | [5 empty] | 22 | B
| 23 | C | [5 empty] | 24 | C
| 25 | A | [5 empty] | 26 | A
| 27 | B | [5 empty] | 28 | B
| 29 | C | [5 empty] | 30 | C
| 31 | A | [5 empty] | 32 | A
| 33 | B | [5 empty] | 34 | B
| 35 | C | [5 empty] | 36 | C
| 37 | A | [5 empty] | 38 | A
| 39 | B | [5 empty] | 40 | B
| 41 | C | [5 empty] | 42 | C
INSTRUCTIONS Fill fields at positions where branch circuits located
Cable CT Identifiers
Circuit Breaker Click arrow, select from list. Choices: red Odd/even numbered panels
Poles: (blank) no circuit at this position white Sequential numbered panels
1 (LN) 1 pole breaker, line+neutral circuit
2 (LL) 2 pole breaker, 2 line circuit
2 (LLN) 2 pole breaker, 2 line + neutral circuit
3 3 pole breaker, 3 line (with/without) neutral circuit
Circuit Breaker
Amps: Rating of breaker protecting circuit.
CT Number: Enter CT number (default/recommended is circuit position).
Red/white colored cells show where CTs placed.
Number & background color indicate cable CT Identifier.
CT Amps: Rating of CT measuring branch circuit current.

## Alarms
Alarms:
|  | Panel |  |  |  | Branch
|  | Mains Voltage | Mains Current | Neutral Current | Earth Current | Circuit Currents
| Upper Critical Threshold | 0% | 0% | 0% | 0% | 0%
| Upper Warning Threshold | 0% | 0% | 0% | 0% | 0%
| Lower Warning Threshold | 0% | 0% | 0% | 0% | 0%
| Lower Critical Threshold | 0% | 0% | 0% | 0% | 0%
| Assert Time (seconds) | 0 | 0 | 0 | 0 | 0
| Hysteresis (volts or amps) | 0 | 0 | 0 | 0 | 0
INSTRUCTIONS
To establish alarm levels for voltages & currents:
1. Specify Thresholds.
2. Specify Assert Time.
3. Specify Hysteresis.
HOW ALARMS WORK
State (Normal, Warning, Critical) changes when measurement crosses threshold.
Threshold is percentage of nominal voltage or rated current. (0% disables threshold)
Assert Time is duration measurement must be present before change to worse state.
Hysteresis is difference (volts or amps) from threshold causing change back to better state.
EXAMPLE
Circuit Rating (40A), Upper Warning (80%), Assert Time (5), Hysteresis (2).
State changes from Normal to Warning when measurement exceeds 32A for 5 seconds.
State changes back to Normal when measurement falls below 30A.

## Description (hidden)
Raritan PMC Deployment Utility

## Hidden (hidden)
3-Phase Panel | Single-Phase Panel | Split-Phase Panel |  | Panel Types | Mains Voltage Alarm Threshold | Min | Max | Mains Current Alarm Threshold | Min | Max | Branch Circuit Current Alarm | Min | Max
[5 empty] | Upper Critical % | 0% | 200% | Upper Critical % | 0% | 200% | Upper Critical % | 0% | 200%
1 | 1 | 1 (LN) |  | single-phase | Upper Warning % | 0% | 200% | Upper Warning % | 0% | 200% | Upper Warning % | 0% | 200%
2 (LL) |  | 2 (LL) |  | split-phase | Lower Warning % | 0% | 200% | Lower Warning % | 0% | 200% | Lower Warning % | 0% | 200%
2 (LLN) |  | 2 (LLN) |  | 3-phase | Lower Critical % | 0% | 200% | Lower Critical % | 0% | 200% | Lower Critical % | 0% | 200%
3 |  |  |  |  | Assert Time | 0 | 100 | Assert Time | 0 | 100 | Assert Time | 0 | 100
[5 empty] | Hysteresis | 0 | 500 | Hysteresis | 0 | 2000 | Hysteresis | 0 | 2000
# Columns | Panel Layout | Phase Assignments (3-Phase) | Phase Assignments (Split-Phase) | Phase Assignments (Single-Phase)
[8 empty] | Mains Neutral Current Alarm | Min | Max
1 | Odd/Even | A | A | A |  |  |  | Upper Critical % | 0% | 200%
2 | Sequential | B | B |  |  |  |  | Upper Warning % | 0% | 200%
|  | C | [5 empty] | Lower Warning % | 0% | 200%
[8 empty] | Lower Critical % | 0% | 200%
[8 empty] | Assert Time | 0 | 100
[8 empty] | Hysteresis | 0 | 2000
[8 empty] | Mains PE Current Alarm | Min | Max
[8 empty] | Upper Critical % | 0% | 200%
[8 empty] | Upper Warning % | 0% | 200%
[8 empty] | Lower Warning % | 0% | 200%
[8 empty] | Lower Critical % | 0% | 200%
[8 empty] | Assert Time | 0 | 100
[8 empty] | Hysteresis | 0 | 2000

## Validation (hidden)
Number of breaker poles
(blank) - no circuit here 1 (LN) - 1 phase line/neutral circuit 2 (LL) - 1 phase line/line circuit. e.g 208V 2 (LLN) - 2 phase line/line + 1-phase line/neutral 3 (LLL/LLLN) - 3 phase with/without neutral | Circuit breaker current rating (in amperes) | CTs are numbered 1 to 96. Make sure the same number is not used twice. | CT current rating in amperes
1
96
Enter value 1 to 96 or leave blank if no CT at this circuit position.

## Mirror (hidden)
1 | A | 2 | A
3 | B | 4 | B
5 | C | 6 | C
7 | A | 8 | A
9 | B | 10 | B
11 | C | 12 | C
13 | A | 14 | A
15 | B | 16 | B
17 | C | 18 | C
19 | A | 20 | A
21 | B | 22 | B
23 | C | 24 | C
25 | A | 26 | A
27 | B | 28 | B
29 | C | 30 | C
31 | A | 32 | A
33 | B | 34 | B
35 | C | 36 | C
37 | A | 38 | A
39 | B | 40 | B
41 | C | 42 | C

## VHistory (hidden)
Version History
Revision | Date | Description
0.1 | 2015-03-19 | Original
0.2 | 2015-04-03 | Change font to red instead of drawing a red border around duplicate CTs
Clear out cells prior to deleting the circuit
Don't darken borders when circuit is created
Fix bug related to not consistently detecting a duplicate CT #
0.3 | 2015-04-20 | When enter value in poles, cursor moves back to name, should go to rating.
When add value in BCM CT number, cursor moves to number field in next row, should go to CT rating.
Change formatting of 2(LL) pole circuit
Unprotect the worksheet while the worksheet change is occuring
Lock the BCM CT Number, Rating cells in the 2nd position of a 2 (LL) pole circuit
0.4 | ??? | Michael S. updates
0.5 | 2015-07-25 | Added code to export Excel file to JSON format
| 2015-08-12 | Added Export button
Fixed JSON syntax errors
| 2015-08-26 | Finalized JSON syntax for 2 column, 42 position panel
| 2015-08-27 | Added 'Phase CT Rating' field to 'PMM Panel Mains Meter ' table

## Scrap (hidden)
1 | A | 25 | 1 | 60 | 1 | 60
3 | B | C3 | 1 | 15 | 3 | 60
5 | C | 30 | 1 | 15 | 5 | 60
7 | A | C7 | 1 | 15 | 7 | 60
9 | B
11 | C
13 | A
15 | B
17 | C
19 | A
21 | B
23 | C
25 | A
27 | B
29 | C
31 | A
33 | B
35 | C
37 | A
39 | B
41 | C
2 | A
4 | B
6 | C
8 | A
10 | B
12 | C
14 | A
16 | B
18 | C
20 | A
22 | B
24 | C
26 | A
28 | B
30 | C
32 | A
34 | B
36 | C
38 | A
40 | B
42 | C

## Breaker Panel State (hidden)
1 | 0 | 0 |  | 0 |  | 0 | FALSE | 3 | 0 | 0
2 | 0 | 0 |  | 0 |  | 0 | FALSE | 4 | 0 | 0
3 | 0 | 0 |  | 0 |  | 0 | FALSE | 5 | 0 | 0
4 | 0 | 0 |  | 0 |  | 0 | FALSE | 6 | 0 | 0
5 | 0 | 0 |  | 0 |  | 0 | FALSE | 7 | 0 | 0
6 | 0 | 0 |  | 0 |  | 0 | FALSE | 8 | 0 | 0
7 | 0 | 0 |  | 0 |  | 0 | FALSE | 9 | 0 | 0
8 | 0 | 0 |  | 0 |  | 0 | FALSE | 10 | 0 | 0
9 | 0 | 0 |  | 0 |  | 0 | FALSE | 11 | 0 | 0
10 | 0 | 0 |  | 0 |  | 0 | FALSE | 12 | 0 | 0
11 | 0 | 0 |  | 0 |  | 0 | FALSE | 13 | 0 | 0
12 | 0 | 0 |  | 0 |  | 0 | FALSE | 14 | 0 | 0
13 | 0 | 0 |  | 0 |  | 0 | FALSE | 15 | 0 | 0
14 | 0 | 0 |  | 0 |  | 0 | FALSE | 16 | 0 | 0
15 | 0 | 0 |  | 0 |  | 0 | FALSE | 17 | 0 | 0
16 | 0 | 0 |  | 0 |  | 0 | FALSE | 18 | 0 | 0
17 | 0 | 0 |  | 0 |  | 0 | FALSE | 19 | 0 | 0
18 | 0 | 0 |  | 0 |  | 0 | FALSE | 20 | 0 | 0
19 | 0 | 0 |  | 0 |  | 0 | FALSE | 21 | 0 | 0
20 | 0 | 0 |  | 0 |  | 0 | FALSE | 22 | 0 | 0
21 | 0 | 0 |  | 0 |  | 0 | FALSE | 23 | 0 | 0
22 | 0 | 0 |  | 0 |  | 0 | FALSE | 24 | 0 | 0
23 | 0 | 0 |  | 0 |  | 0 | FALSE | 25 | 0 | 0
24 | 0 | 0 |  | 0 |  | 0 | FALSE | 26 | 0 | 0
25 | 0 | 0 |  | 0 |  | 0 | FALSE | 27 | 0 | 0
26 | 0 | 0 |  | 0 |  | 0 | FALSE | 28 | 0 | 0
27 | 0 | 0 |  | 0 |  | 0 | FALSE | 29 | 0 | 0
28 | 0 | 0 |  | 0 |  | 0 | FALSE | 30 | 0 | 0
29 | 0 | 0 |  | 0 |  | 0 | FALSE | 31 | 0 | 0
30 | 0 | 0 |  | 0 |  | 0 | FALSE | 32 | 0 | 0
31 | 0 | 0 |  | 0 |  | 0 | FALSE | 33 | 0 | 0
32 | 0 | 0 |  | 0 |  | 0 | FALSE | 34 | 0 | 0
33 | 0 | 0 |  | 0 |  | 0 | FALSE | 35 | 0 | 0
34 | 0 | 0 |  | 0 |  | 0 | FALSE | 36 | 0 | 0
35 | 0 | 0 |  | 0 |  | 0 | FALSE | 37 | 0 | 0
36 | 0 | 0 |  | 0 |  | 0 | FALSE | 38 | 0 | 0
37 | 0 | 0 |  | 0 |  | 0 | FALSE | 39 | 0 | 0
38 | 0 | 0 |  | 0 |  | 0 | FALSE | 40 | 0 | 0
39 | 0 | 0 |  | 0 |  | 0 | FALSE | 41 | 0 | 0
40 | 0 | 0 |  | 0 |  | 0 | FALSE | 42 | 0 | 0
41 | 0 | 0 |  | 0 |  | 0 | FALSE | 2 | 0 | 0
42 | 0 | 0 |  | 0 |  | 0 | FALSE | 44 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 45 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 46 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 47 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 48 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 49 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 50 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 51 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 52 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 53 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 54 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 55 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 56 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 57 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 58 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 59 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 60 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 61 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 62 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 63 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 64 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 65 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 66 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 67 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 68 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 69 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 70 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 71 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 72 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 73 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 74 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 75 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 76 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 77 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 78 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 79 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 80 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 81 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 82 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 83 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 84 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 85 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 86 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 87 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 88 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 89 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 90 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 91 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 92 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 93 | 0 | 0
0 | 0 | 0 |  | 0 |  | 0 | FALSE | 94 | 0 | 0
93 | 0 | 51 | 2 (LL) | 0 | B | 95 | TRUE | 95 | 2 | 93
94 | 0 | 51 | 2 (LL) | 0 | B | 96 | FALSE | 96 | 2 | 94
0 | 0 | 51 | 2 (LL) | 0 | C | 95 | FALSE | 2 | 0 | 93
0 | 0 | 51 | 2 (LL) | 0 | C | 96 | TRUE | 98 | 0 | 94

## Breaker Panel Template (hidden)
Breaker Panel Template: | Circuit |  |  | Circuit Breaker |  | CT
| Position | Phase | Name | Poles | Amps | Number | Amps
1

## Branch Circuits Temp (hidden)
Circuit |  | Circuit Breaker |  | BCM CT |  | Circuit |  | Circuit Breaker |  | BCM CT
Position | Name | Poles | Rating | Number | Rating | Position | Name | Poles | Rating | Number | Rating
1 | [5 empty] | 25
2 | [5 empty] | 26
3 | [5 empty] | 27
4 | [5 empty] | 28
5 | [5 empty] | 29
6 | [5 empty] | 30
7 | [5 empty] | 31
8 | [5 empty] | 32
9 | [5 empty] | 33
10 | [5 empty] | 34
11 | [5 empty] | 35
12 | [5 empty] | 36
13 | [5 empty] | 37
14 | [5 empty] | 38
15 | [5 empty] | 39
16 | [5 empty] | 40
17 | [5 empty] | 41
18 | [5 empty] | 42
19 | [5 empty] | 43
20 | [5 empty] | 44
21 | [5 empty] | 45
22 | [5 empty] | 46
23 | [5 empty] | 47
24 | [5 empty] | 48

## Configure Meter
Configure Meter:
| username | password
| admin | raritan
INSTRUCTIONS (Procedure to configure using USB flash drive)
1. Enter power meter login crendentials:
(Default username/password: admin/raritan)
INSTRUCTIONS (Procedure to configure using network connection)
A. Use Excel Save As: save to location on PC.
B. Disable your PC WIFI connection.
C. Connect cable between PC and Power Meter Controller network ports.
D. Open browser on PC. Enter http://pdu.local in browser address bar.
a. If the URL does not resolve, use the IP address of the PMC
E. Login (default username/password are admin/raritan)
F. Click Import Configuration.
G. Navigate to location where file saved in step A Select the JSON file (not the Microsoft Excel file)
2. Insert USB flash drive into PC
3. Use Excel Save As: save spreadsheet to flash drive
4. Remove flash drive from PC.
Insert it into Power Meter Controller USB port.
5. Controller LCD shows results. Remove flash drive. 6. Press button to restore LCD screen